## AA - NDC V1.0
COMPANY NAME |  |  | :
PROJECT NAME |  |  | :
PROJECT DESCRIPTION |  |  | :
DESIGN REFERENCE GUIDE |  |  | : EXISTING DATA CENTRE (VERSION 1.0)
ASSESSMENT DATE |  |  | :
TARGET RATING |  |  | :
TOTAL NO. OF UNITS |  |  | :
GROSS FLOOR AREA |  |  | :
Category |  |  |  |  | Credit Allocations |  | Credit Claimed |  | Credit Awarded |  | Remarks
(I) Energy Related Requirements
Minimum 35 Credits | Part 1: Energy Efficiency
| EDC 1-1 Overall Energy Efficiency |  |  |  | 27 |  | 0 |  | 0
NDC 1-2 Systems Energy Efficiency
| (i) | Cooling System (Including Air Management System) |  |  |  | 14 |  | 0 |  | 0
|  | a) Water-Cooled Chilled-Water Plant |  |  | 10 |  | 0 |  | 0
|  | b) Air cooled Chilled-Water Plant/ Unitary Air- Conditioners (DX CRAC Units) |  |  | 10 |  | 0 |  | 0
|  | c) Using chilled water from a central facility |  |  | 4 |  | 0 |  | 0
|  | d) Air Management System |  |  | 4 |  | 0 |  | 0
| (ii) | Electrical System |  |  | 9 |  | 0 |  | 0
| (iii) | IT Equipment |  |  | 8 |  | 0 |  | 0
EDC 1-3 Energy Efficiency and Performance Verification
| (i) | Energy Assessment and Energy Audit |  |  | 3 |  | 0 |  | 0
| (ii) | Building Management System |  |  | 2 |  | 0 |  | 0
| (iii) | Energy Metering and Reporting of PUE |  |  | 5 |  | 0 |  | 0
| EDC 1-4 Energy Policy and Management |  |  |  | 5 |  | 0 |  | 0
| EDC 1-5 Energy Efficient Features and Innovations |  |  |  | 8 |  | 0 |  | 0
| EDC 1-6 Renewable Energy |  |  |  |  | 5 |  | 0 |  | 0
|  | a) Solar feasibility study |  |  | 1 |  | 0 |  | 0
|  | b) Solar ready Roof |  |  | 1 |  | 0 |  | 0
|  | c) Adoption of renewable energy |  |  | 3 |  | 0 |  | 0
| Category Score for Part 1 - Energy Efficiency |  |  |  | 86 |  | 0 |  | 0
(II) Other Green Requirements
Minimum 10 Credits | Part 2: Water Efficiency
| EDC 2-1 Water Efficient Design |  |  |  |  | 4 |  | 0 |  | 0
| (a) | Private -metering and portable water leak detection |  |  | 2 |  | 0 |  | 0
| (b) | Water efficient Fittings |  |  | 1 |  | 0 |  | 0
| (c) | Water Efficiency improvement plans |  |  | 1 |  | 0 |  | 0
| EDC 2-2 Alternative Water Sources |  |  |  | 3 |  | 0 |  | 0
| EDC 2-3 Cooling Tower Water Use |  |  |  | 6 |  | 0 |  | 0
| Category Score for Part 2 - Water Efficiency |  |  |  | 13 |  | 0 |  | 0
Part 3: Sustainable Conctruction & Management
| EDC 3-1 Refrigerants and Fire Suppressants |  |  |  |  | 4 |  | 0 |  | 0
| (a) | Use Refrigerants with ozone depletion potential (ODP) of zero |  |  | 1 |  | 0 |  | 0
| (b) | Refrigerant leak detection monitoring system |  |  | 1 |  | 0 |  | 0
| (c) | In server rooms, use of Fire Suppressants with zero ODP or GWP of less than 100 |  |  | 1 |  | 0 |  | 0
| (d) | In UPS and Battery rooms, use of Fire Suppressants with zero ODP or GWP of less than 100. |  |  | 1 |  | 0 |  | 0
| EDC 3-2 Sustainable Product |  |  |  | 6 |  | 0 |  | 0
| EDC 3-3 Sustainability Policy |  |  |  |  | 3 |  | 0 |  | 0
| (a) | Sustainable Purchasing |  |  | 1 |  | 0 |  | 0
| (b) | Waste Management |  |  | 2 |  | 0 |  | 0
| EDC 3-4 Environmental Management Practice |  |  |  |  | 4 |  | 0 |  | 0
| (a) | Green Guide |  |  | 1 |  | 0 |  | 0
| (b) | Main Builder Has Good Track Records |  |  | 1 |  | 0 |  | 0
| ( c) | Client or Any Consultants are ISO 14000 Certified |  |  | 1 |  | 0 |  | 0
| (d) | Project Team Comprises of Certified GreenRE Manager/Professional |  |  | 1 |  | 0 |  | 0
| Category Score for Part 3 -Sustainable Conctruction & Management |  |  |  | 17 |  | 0 |  | 0
Part 4: Indoor Environmental Quality
| EDC 4-1 Indoor Air Quality Performance |  |  |  |  | 6 |  | 0 |  | 0
| (a) | Full IAQ Audit |  |  | 2 |  | 0 |  | 0
| (b) | Effective IAQ Management Plan |  |  | 1 |  | 0 |  | 0
| ( c) | High Efficiency Air Filter |  |  | 1 |  | 0 |  | 0
| (d) | Room Temperature Display |  |  | 1 |  | 0 |  | 0
| (e) | Additional carbon dioxide sensor display (at least 1 unit per floor) |  |  | 1 |  | 0 |  | 0
| EDC 4-2 Lighting Quality and Management |  |  |  | 2 |  | 0 |  | 0
| EDC 4-3 Thermal Comfort and Noise Level |  |  |  |  | 2 |  | 0 |  | 0
| (a) | Supply air temperature and Relative Humidity |  |  | 1 |  | 0 |  | 0
| (b) | Achieve ambient internal noise level |  |  | 1 |  | 0 |  | 0
| Category Score for Part 4 - Indoor Environmental Quality |  |  |  | 10 |  | 0 |  | 0
Part 5: Other Green Features
| EDC 5-1 Green Features & Innovations |  |  |  | 10 |  | 0 |  | 0
| Category Score for Part 5 - Other Green Features |  |  |  | 10 |  | 0 |  | 0
Part 6: Carbon Emission of Development
| EDC 6-1 Carbon Emission of Development |  |  |  | 3 |  | 0 |  | 0
| Category Score for Part 6 - Carbon Emission of Development |  |  |  | 3 |  | 0 |  | 0
| Category Score for Part 2 to Part 6 - Other Green Requirements |  |  |  | 53 |  | 0 |  | 0
GreenRE Existing Data Centre Score (Max) |  |  |  |  | 139 |  | 0 |  | 0
ASSESSED BY: |  |  |  | REVIEWED BY: | [6 empty] | REVIEWED BY:
SITI SUHANA ABD RAHMAN |  |  |  | NUR FATEHA JAMALUDDIN | [6 empty] | IR. ASHWIN THURAIRAJAH
[ASSESSOR 1 - (I) ENERGY RELATED REQUIREMENTS] |  |  |  | [MANAGER] | [6 empty] | [EXECUTIVE DIRECTOR]
[(II) OTHER GREEN REQUIREMENTS]
GREENRE SDN BHD |  |  |  | GREENRE SDN BHD | [6 empty] | GREENRE SDN BHD
DATE: |  |  |  | DATE: | [6 empty] | DATE: