## AA - NDC V1.0
COMPANY NAME |  |  | :
PROJECT NAME |  |  | :
PROJECT DESCRIPTION |  |  | :
DESIGN REFERENCE GUIDE |  |  | : NEW DATA CENTRE v1.1
ASSESSMENT DATE |  |  | :
TARGET RATING |  |  | :
TOTAL NO. OF UNITS |  |  | :
GROSS FLOOR AREA |  |  | :
Category |  |  |  | Credit Allocations |  | Credit Claimed |  | Credit Awarded |  | Remarks
(I) Energy Related Requirements
Minimum 35 Credits | Part 1: Energy Efficiency
| NDC 1-1 Overall Energy Efficiency |  |  | 25 |  | 0 |  | 0
NDC 1-2 Systems Energy Efficiency
| (i) | Cooling System (Including Air Management System) |  |  | 14 |  | 0 |  | 0
|  | a) Water-Cooled Chilled-Water Plant |  | 10 |  | 0 |  | 0
|  | b) Air cooled Chilled-Water Plant/ Unitary Air- Conditioners (DX CRAC Units) |  | 10 |  | 0 |  | 0
|  | c) Using chilled water from a central facility |  | 4 |  | 0 |  | 0
|  | d) Air Management System |  | 4 |  | 0 |  | 0
| (ii) | Electrical System |  | 9 |  | 0 |  | 0
| (c) | IT Equipment |  | 8 |  | 0 |  | 0
NDC 1-3 Energy Efficiency and Performance Verification
| (a) | Commissioning of Energy Systems |  | 4 |  | 0 |  | 0
| (b) | Measurement and Verification Plan |  | 3 |  | 0 |  | 0
| (c) | Energy Metering and Reporting of PUE |  | 3 |  | 0 |  | 0
| NDC 1-4 Data Centre Design and Energy Management |  |  |  | 10 |  | 0 |  | 0
| (a) | Data Centre Planning and Design |  | 5 |  | 0 |  | 0
| (b) | Data Centre Operations and Energy Management |  | 5 |  | 0 |  | 0
| NDC 1-5 Energy Efficient Features and Innovations |  |  | 8 |  | 0 |  | 0
| NDC 1-6 Renewable Energy |  |  |  | 5 |  | 0 |  | 0
|  | a) Solar feasibility study |  | 1 |  | 0 |  | 0
|  | b) Solar ready Roof |  | 1 |  | 0 |  | 0
|  | c) Adoption of renewable energy |  | 3 |  | 0 |  | 0
| Category Score for Part 1 - Energy Efficiency |  |  | 89 |  | 0 |  | 0
(II) Other Green Requirements
Minimum 10 Credits | Part 2: Water Efficiency
| NDC 2-1 Water Efficient Design |  |  |  | 3 |  | 0 |  | 0
| (a) | Private -metering and portable water leak detection |  | 2 |  | 0 |  | 0
| (a) | Water Efficient Fittings |  | 1 |  | 0 |  | 0
| NDC 2-2 Alternative Water Sources |  |  | 3 |  | 0 |  | 0
| NDC 2-3 Cooling Tower Water Use |  |  | 6 |  | 0 |  | 0
| Category Score for Part 2 - Water Efficiency |  |  | 12 |  | 0 |  | 0
Part 3: Sustainable Conctruction & Management
| NDC 3-1 Refrigerants and Fire Suppressants |  |  |  | 4 |  | 0 |  | 0
| (a) | Use Refrigerants with ozone depletion potential (ODP) of zero |  | 1 |  | 0 |  | 0
| (b) | Refrigerant leak detection monitoring system |  | 1 |  | 0 |  | 0
| (c) | In server rooms, use of Fire Suppressants with zero ODP or GWP of less than 100 |  | 1 |  | 0 |  | 0
| (d) | In UPS and Battery rooms, use of Fire Suppressants with zero ODP or GWP of less than 100. |  | 1 |  | 0 |  | 0
| NDC 3-2 Sustainable Construction | Sustainable Construction |  |  | 10 |  | 0 |  | 0
| (a) | Use of sustainable and recycled materials |  | 5 |  | 0 |  | 0
| (b) | Concrete Usage Index (CUI) |  | 5 |  | 0 |  | 0
| NDC 3-3 Sustainable Product |  |  | 6 |  | 0 |  | 0
| NDC 3-4 Sustainability Policy |  |  |  | 3 |  | 0 |  | 0
| (a) | Sustainable Purchasing |  | 1 |  | 0 |  | 0
| (b) | Waste Management |  | 2 |  | 0 |  | 0
| NDC 3-5 Environmental Management Practice |  |  |  | 7 |  | 0 |  | 0
| (a) | Effective Implementation of Environmental Friendly Programme |  | 1 |  | 0 |  | 0
| (b) | Main Builder Has Good Track Records |  | 1 |  | 0 |  | 0
| (c) | Building Quality is Assesed Under the QLASSIC or CONQUAS |  | 1 |  | 0 |  | 0
| (d) | Perform IBS Content Scoring Based On CIDB IBS Scoring Scheme |  | 2 |  | 0 |  | 0
| (e) | Client or Any Consultants are ISO 14000 Certified |  | 1 |  | 0 |  | 0
| (f) | Project Team Comprises of Certified GreenRE Manager/Professional |  | 1 |  | 0 |  | 0
| Category Score for Part 3 -Sustainable Conctruction & Management |  |  | 30 |  | 0 |  | 0
Part 4: Indoor Environmental Quality
| NDC 4-1 Indoor Air Quality Performance |  |  | 2 |  | 0 |  | 0
| NDC 4-2 Lighting Quality and Management |  |  | 2 |  | 0 |  | 0
| NDC 4-3 Thermal Comfort and Noise Level |  |  |  | 2 |  | 0 |  | 0
| (a) | Supply air temperature and Relative Humidity |  | 1 |  | 0 |  | 0
| (b) | Achieve ambient internal noise level |  | 1 |  | 0 |  | 0
| Category Score for Part 4 - Indoor Environmental Quality |  |  | 6 |  | 0 |  | 0
Part 5: Other Green Features
| NDC 5-1 Green Features & Innovations |  |  | 10 |  | 0 |  | 0
| Category Score for Part 5 - Other Green Features |  |  | 10 |  | 0 |  | 0
Part 6: Carbon Emission of Development
| NDC 6-1 Carbon Emission of Development |  |  | 3 |  | 0 |  | 0
| Category Score for Part 6 - Carbon Emission of Development |  |  | 3 |  | 0 |  | 0
| Category Score for Part 2 to Part 6 - Other Green Requirements |  |  | 61 |  | 0 |  | 0
GreenRE New Data Centre Score (Max) |  |  |  | 150 |  | 0 |  | 0