## AA - ENRB v3.1
COMPANY NAME |  |  |  | :
PROJECT NAME |  |  |  | :
PROJECT DESCRIPTION |  |  |  | :
DESIGN REFERENCE GUIDE |  |  |  | : EXISTING NON-RESIDENTIAL BUILDING (ENRB v3.1)
ASSESSMENT DATE |  |  |  | :
TARGET RATING |  |  |  | :
TOTAL NO. OF UNITS |  |  |  | :
GROSS FLOOR AREA |  |  |  | :
Category | [6 empty] | Credit Allocations |  | Credit Claimed |  | Credit Awarded |  | REMARK
(I) Energy Related Requirements
Minimum 30 Credits | Part 1: Energy Efficiency
| ENRB 1-1 Thermal Performance of Building Envelope - OTTV | [5 empty] | 5 |  | 0 |  | 0
| ENRB 1-2 Air-Conditioning System (Air-Conditioned Areas) | [6 empty] | 28 |  | 0 |  | 4.1
| (a) | Water Cooled Chilled-Water Plant |  |  |  |  | 20 |  | 0 |  | 0
| (b) | Air Cooled Chilled-Water Plant / Unitary Air-Conditioners |  |  |  |  | 20 |  | 0 |  | 4.1
| (c) | Air Distribution System |  |  |  |  | 8 |  | 0 |  | 0
| (d) | Provision of Permanent Measuring Instruments |  |  |  |  | 2 |  | 0 |  | 0
| (e) | Verification - Heat Balance |  |  |  |  | 1 |  | 0 |  | 0
| (f) | Provision of Variable Speed Controls |  |  |  |  | 1 |  | 0 |  | 0
| (g) | Use of Sensors or Similar Automatic Control Devices |  |  |  |  | 1 |  | 0 |  | 0
| Sub-Total ENRB 1-2 | [5 empty] | 33 |  | 0 |  | 4.1
ENRB 1-3 Natural Ventilation/Mechanical Ventilation (Non Air-Conditioned Areas)
| (a) | Natural Ventilation |  |  |  |  | 32 | 32 | 0 | 0 | 22.7 | 22.7
| (b) | Mechanical Ventilation |  |  |  |  | 32 |  | 0 |  | 0
| Sub-Total ENRB 1-3 | [5 empty] | 32 |  | 0 |  | 22.7
| ENRB 1-4 Artificial Lighting | [5 empty] | 13 |  | 0 |  | 4.8
| ENRB 1-5 Ventilation in Carparks | [5 empty] | 4 |  | 0 |  | 4
| ENRB 1-6 Ventilation in Common Areas | [5 empty] | 5 |  | 0 |  | 0.5
| ENRB 1-7 Lifts & Escalators | [5 empty] | 3 |  | 0 |  | 0
| ENRB 1-8 Energy Efficient Practices & features | [6 empty] | 12 |  | 0 |  | 1
| (a) | Computation of Energy Efficiency Index (EEI) |  |  |  |  | 1 |  | 0 |  | 1
| (b) | Use of Energy Eficient Product |  |  |  |  | 2 |  | 0 |  | 0
| (c) | Use of Energy Efficient Features |  |  |  |  | 9 |  | 0 |  | 0
| ENRB 1-9 Energy Policy and Management | [6 empty] | 1 |  | 0 |  | 1
| (a) | Energy Policy, Energy Targets and Regular Review |  |  |  |  | 0.5 |  | 0 |  | 0.5
| (b) | Intent, Measures and Implementation Strategies |  |  |  |  | 0.5 |  | 0 |  | 0.5
| Sub-Total ENRB 1-4- ENRB 1-9 | [5 empty] | 38 |  | 0 |  | 11.3
| ENRB 1-10 Renewable Energy | [5 empty] | 15 |  | 0 |  | 0
| Category Score for Part 1 - Energy Efficiency | [5 empty] | 118 |  | 0 |  | 38.1
| Maximum Score for Part 1 - Energy Efficiency | [5 empty] | 65 |  | 0 |  | 38.1
(II) Other Green Requirements
Minimum 20 Credits | Part 2: Water Efficiency
| ENRB 2-1 Water Usage and Leak Detection | [6 empty] | 4 |  | 0 |  | 2
| (a) | To Monitor the Water Consumption on Monthly Basis |  |  |  |  | 1 |  | 0 |  | 1
| (b) | Provision of Sub-Meters for Major Water Uses |  |  |  |  | 1 |  | 0 |  | 1
| (c) | Provision of Automated / Smart Metering |  |  |  |  | 2 |  | 0 |  | 0
| ENRB 2-2 Water Efficient Fittings | [5 empty] | 12 |  | 0 |  | 0
| ENRB 2-3 Alternative Water Sources | [5 empty] | 3 |  | 0 |  | 0
| ENRB 2-4 Water Efficiency Improvement Plans | [5 empty] | 1 |  | 0 |  | 1
| ENRB 2-5 Irrigation System and Landscaping | [6 empty] | 3 |  | 0 |  | 0
| (a) | Use of Non-Potable Water |  |  |  |  | 1 |  | 0 |  | 0
| (b) | Use of Automatic Water Efficient Irrigation System |  |  |  |  | 1 |  | 0 |  | 0
| (c) | Use of Drought Tolerant Plants |  |  |  |  | 1 |  | 0 |  | 0
| ENRB 2-6 Water Consumption of Cooling Towers | [6 empty] | 2 |  | 0 |  | 0
| (a) | Use of Cooling Tower Water Treatment System |  |  |  |  | 1 |  | 0 |  | 0
| (b) | Use of Recycled Water from Approved Sources |  |  |  |  | 1 |  | 0 |  | 0
| Category Score for Part 2 - Water Efficiency | [5 empty] | 25 |  | 0 |  | 3
Part 3: Sustainable Operation & Maintenance
| ENRB 3-1 Building Operation & Maintenance | [6 empty] | 5 |  | 0 |  | 2
| (a) | The Environmental Policy |  |  |  |  | 1 |  | 0 |  | 1
| (b) | A Green Guide for Occupants or Visitors |  |  |  |  | 1 |  | 0 |  | 1
| (c) | In-House Building Management Team Comprises One GreenRE Manager |  |  |  |  | 1 |  | 0 |  | 0
| (d) | GreenRE Manager As Project Team |  |  |  |  | 1 |  | 0 |  | 0
| (e) | The Environmental Management System |  |  |  |  | 1 |  | 0 |  | 0
| ENRB 3-2 Post Occupancy Evaluation | [6 empty] | 3 |  | 0 |  | 3
| (a) | Conduct Post Occupancy Survey |  |  |  |  | 2 |  | 0 |  | 2
| (b) | List of Corrective Actions Taken |  |  |  |  | 1 |  | 0 |  | 1
| ENRB 3-3 Waste Management | [6 empty] | 7 |  | 0 |  | 5
| (a) | Provision of Facilities or Recycling Bins |  |  |  |  | 2 |  | 0 |  | 2
| (b) | Promote and Encourage Waste Minimization and Recycling |  |  |  |  | 2 |  | 0 |  | 2
| (c) | Provision of Proper Storage Area |  |  |  |  | 1 |  | 0 |  | 1
| (d) | To Quantify and Monitor the Recycling Programme |  |  |  |  | 2 |  | 0 |  | 0
| ENRB 3-4 Sustainable Products | [5 empty] | 8 |  | 0 |  | 0
| ENRB 3-5 Greenery Provision | [6 empty] | 8 |  | 0 |  | 0
| (a) | Green Plot Ration (GnPR) |  |  |  |  | 6 |  | 0 |  | 0
| (b) | Restoration of Trees on Site, Conserving or Relocating |  |  |  |  | 1 |  | 0 |  | 0
| (c) | Use of Compost Recycled from Horticulture Waste |  |  |  |  | 1 |  | 0 |  | 0
ENRB 3-6 Environmental Protection
| (a) | Green Procurement Policy |  |  |  |  | 1 |  | 0 |  | 0
| (b) | Reduce the Potential Damage to the Ozone Layer | [5 empty] | 2 |  | 0 |  | 0
|  | > | Refrigerants with Zero ODP or <100 GWP |  |  |  | 1 |  | 0 |  | 0
|  | > | Use of Refrigerant Leak Detection System |  |  |  | 1 |  | 0 |  | 0
| ENRB 3-7 Green Transport | [6 empty] | 4 |  | 0 |  | 1.5
| (a) | Good Access to Public Transport Networks |  |  |  |  | 1 |  | 0 |  | 1
| (b) | Provision of Covered Walkway |  |  |  |  | 1 |  | 0 |  | 0
| (c) | Provision of Electric Vehicle Charging Stations and Priority Parking Lots |  |  |  |  | 1 |  | 0 |  | 0
| (d) | Provision of Covered/Sheltered Bicycles Parking Lots |  |  |  |  | 1 |  | 0 |  | 0.5
| Category Score for Part 3 - Environmental Protection | [5 empty] | 38 |  | 0 |  | 11.5
Part 4: Indoor Environmental Quality
| ENRB 4-1 Indoor Air Quality Performance | [6 empty] | 8 |  | 2 |  | 7
| (a) | To Conduct Full IAQ Audit |  |  |  |  | 4 |  | 0 |  | 4
| (b) | Implement Effective IAQ Management |  |  |  |  | 1 |  | 0 |  | 1
| (c) | Use of High Efficiency Air Filter |  |  |  |  | 1 |  | 0 |  | 0
| (d) | Room Temperature Display |  |  |  |  | 1 |  | 1 |  | 1
| (e) | Additional Carbon Dioxide Sensor Display |  |  |  |  | 1 |  | 1 |  | 1
| ENRB 4-2 Indoor Air Pollutants | [6 empty] | 2 |  | 1 |  | 0
| (a) | Use of Low Volatile Organic Compound (VOC) Paints |  |  |  |  | 1 |  | 1 |  | 0
| (b) | Use of Environmentally Friendly Adhesives |  |  |  |  | 1 |  | 0 |  | 0
| ENRB 4-3 Lighting Quality | [6 empty] | 5 |  | 1 |  | 1
| (a) | Lighting Level to Comply with MS1525:2014 |  |  |  |  | 1 |  | 1 |  | 1
| (b) | Contollability of Lighting System |  |  |  |  | 2 |  | 0 |  | 0
| (c) | High Frequency Ballasts |  |  |  |  | 2 |  | 0 |  | 0
| ENRB 4-4 Thermal Comfort | [6 empty] | 2 |  | 2 |  | 2
| (a) | Ensure Consistent Indoor Conditions |  |  |  |  | 1 |  | 1 |  | 1
| (b) | Controllability of Temperature |  |  |  |  | 1 |  | 1 |  | 1
| ENRB 4-5 Internal Noise Level | [5 empty] | 1 |  | 1 |  | 1
| Category Score for Part 4 - Indoor Environmental Quality | [5 empty] | 18 |  | 7 |  | 11
Part 5: Other Green Features
| ENRB 5-1 Green Features & Innovations | [5 empty] | 10 |  | 2 |  | 2
| Category Score for Part 5 - Other Green Features | [5 empty] | 10 |  | 2 |  | 2
Part 6: Carbon Emission of Development
| ENRB 6-1 Carbon Emission of Development | [5 empty] | 3 |  | 0 |  | 0
| Category Score for Part 6 - Carbon Emission of Development | [5 empty] | 3 |  | 0 |  | 0
| Category Score for Part 2 to Part 6 - Other Green Requirements | [5 empty] | 94 |  | 9 |  | 27.5
| Maximum Score for Part 2 to Part 6 - Other Green Requirements | [5 empty] | 50 |  | 9 |  | 27.5
GreenRE Existing Non-Residential Building Score (Max) | [6 empty] | 115 |  | 9 |  | 65.6 |  | GreenRE BRONZE
[5 empty] | ASSESSED BY: | [7 empty] | REVIEWED BY:
INTAN SITI ZULAIKHA MASTOR | [5 empty] | SITI SUHANA BINTI ABD RAHMAN | [6 empty] | IR. ASHWIN THURAIRAJAH
[ASSESSOR 1 - (I) ENERGY RELATED REQUIREMENTS] | [5 empty] | [ASSESSOR 2 - (II) OTHER GREEN REQUIREMENTS] | [6 empty] | [EXECUTIVE DIRECTOR]
|  |  | GREENRE SDN BHD |  |  | GREENRE SDN BHD | [6 empty] | GREENRE SDN BHD
DATE: | [5 empty] | DATE: | [6 empty] | DATE: