## AA - HC v3.1
COMPANY NAME |  |  |  | :
PROJECT NAME |  |  |  | :
PROJECT DESCRIPTION |  |  |  | :
DESIGN REFERENCE GUIDE |  |  |  | : HEALTHCARE FACILITIES v1.0
ASSESSMENT DATE |  |  |  | :
TARGET RATING |  |  |  | :
TOTAL NO. OF UNITS |  |  |  | :
GROSS FLOOR AREA |  |  |  | :
Category | [5 empty] | Credit Allocations |  | Credit Claimed |  | Credit Awarded |  | Remarks
(I) Energy Related Requirements
Minimum 30 Credits | Part 1: Energy Efficiency
| HC 1-1 Thermal Performance of Building Envelope - OTTV |  |  |  |  | 12 |  | 0 |  | 0
| HC 1-2 Air-Conditioning System | [5 empty] | 20 |  | 0 |  | 0
| (a) | Water Cooled chilled water plant |  |  |  | 20 |  | 0 |  | 0
| (b) | Air- cooled chilled water plant |  |  |  | 20 |  | 0 |  | 0
| (c) | Air Distribution System |  |  |  | 6 |  | 0 |  | 0
| (d) | Provision of Permanent Measuring Instrument |  |  |  | 2 |  | 0 |  | 0
| (e) | Verification of Central Water Cooled Chilled-Water Pump Instrumentation |  |  |  |  | 1 | 0 |  | 0
| (f) | Variables Speed Control |  |  |  | 1 |  | 0 |  | 0
| (g) | Sensors or Similar Automatic Control |  |  |  | 1 |  | 0 |  | 0
| Sub-Total (A) - HC 1-1 to 1-2 |  |  |  |  | 43 |  | 0 |  | 0
HC 1-3 Building Envelope - Design/Thermal Parameters
| (a) | Minimum Direct West Facing Façade |  |  |  | 15 |  | 0 |  | 0
| (b) | (i) | Minimum West Facing Window Opening |  |  | 5 | 10 | 0 | 0 |  | 0
|  | (ii) | Effective Sun Shading Provision for Windows |  |  | 5 |  | 0
| (c) | Better Thermal Transmittance (U-value) of External West Facing Walls |  |  |  | 5 |  | 0 |  | 0
| (d) | Better Thermal Transmittance (U-value) of Roof |  |  |  | 5 |  | 0 |  | 0
| HC 1-4 Natural Ventilation | [5 empty] | 20 |  | 0 |  | 0
| (a) | Precriptive approach |  |  |  | 10 |  | 0 |  | 0
| (b) | Performance approach |  |  |  | 10 |  | 0 |  | 0
| Sub-Total (B) - HC 1-3 to 1-4 |  |  |  |  | 55 |  | 0 |  | 0
HC 1-5 Electrical Services
| (a) | Energy use and Sub-metering |  |  |  | 2 |  | 0 |  | 0
| (b) | Provision of low -loss service transformers |  |  |  | 2 |  | 0 |  | 0
| (c) | Provision of energy -efficient UPS |  |  |  | 3 |  | 0 |  | 0
| HC 1-6 Artificial Lighting |  |  |  |  | 12 |  | 0 |  | 0
| HC 1-7 Ventilation in Carparks |  |  |  |  | 4 |  | 0 |  | 0
| HC 1-8 Lift and Escalators | [5 empty] | 2 |  | 0 |  | 0
| (a) | Lifts with the Following Energy Efficient Features: |  |  |  | 1 |  | 0 |  | 0
| (b) | Escalators with Motion Sensors |  |  |  | 1 |  | 0 |  | 0
| HC 1-9 Airside Energy Recovery | [5 empty] | 6 |  | 0 |  | 0
| (a) | Run -around coil |  |  |  | 2 |  | 0 |  | 0
| (b) | Plate heat exchanger |  |  |  | 2 |  | 0 |  | 0
| (c) | Other energy recovery device |  |  |  | 2 |  | 0 |  | 0
| HC 1-10 Local Energy Generation for Centralised Service Hot Water Heating | [5 empty] | 8 |  | 0 |  | 0
| (a) | Centralised Hot Water System |  |  |  | 6 |  | 0 |  | 0
| (b) | Computation of Service Hot Water Demand |  |  |  | 2 |  | 0 |  | 0
| HC 1-11 Renewable Energy |  |  |  |  | 20 |  | 0 |  | 0
| HC 1-12 Energy Efficient Practices & Features | [5 empty] | 4 |  | 0 |  | 0
| (a) | Dayllighting in common area |  |  |  | 1.5 |  | 0 |  | 0
| (b) | Use of energy -efficient features | Use of energy -efficient features |  |  | 2 |  | 0 |  | 0
| (c) | Computation of energy consumption based on design load in the form of EEI |  |  |  | 0.5 |  | 0 |  | 0
| Sub-Total (C) - HC 1-5 to 1-12 |  |  |  |  | 63 |  | 0 |  | 0
| Category Score for Part 1 - Energy Efficiency |  |  |  |  | 118 |  | 0 |  | 0
| Maximum Category Score for Part 1 - Energy Efficiency |  |  |  |  | 50 |  | 0 |  | 0
(II) Other Green Requirements
Minimum 20 Credits | Part 2: Water Efficiency
| HC 2-1 Water Efficient Fittings |  |  |  |  | 6 |  | 0 |  | 0
| HC 2-2 Water Usage and Leak Detection | [5 empty] | 2 |  | 0 |  | 0
| (a) | Provision of Sub-Meters for Major Water Uses |  |  |  | 1 |  | 0 |  | 0
| (b) | Linking All Sub-Meters to Building Management System (BMS) |  |  |  | 1 |  | 0 |  | 0
| HC 2-3 Irrigation System and Landscaping | [5 empty] | 3 |  | 0 |  | 0
| (a) | Use of Non-Potable Water |  |  |  | 1 |  | 0 |  | 0
| (b) | Use of Water Efficient Irrigation System with Rain Sensor |  |  |  | 1 |  | 0 |  | 0
| (c) | Use of Drought Tolerant Plants |  |  |  | 1 |  | 0 |  | 0
| HC 2-4 Water Consumption of Cooling Towers | [5 empty] | 3 |  | 0 |  | 0
| (a) | To achhieve 7 or better COC |  |  |  | 1 |  | 0 |  | 0
| (b) | Installation of device to reduce the heat removal |  |  |  | 1 |  | 0 |  | 0
| (b) | Equiped with make-up and blowdown meters |  |  |  | 1 |  | 0 |  | 0
| Category Score for Part 2 - Water Efficiency |  |  |  |  | 14 |  | 0 |  | 0
Part 3: Environmental Protection
| HC 3-1 Sustainable Construction | [5 empty] | 6 |  | 0 |  | 0
| (a) | Use of Sustainable and Recycled Materials |  |  |  | 3 |  | 0 |  | 0
| (b) | Concrete Usage Index (CUI) |  |  |  | 3 |  | 0 |  | 0
| HC 3-2 Sustainable Products |  |  |  |  | 6 |  | 0 |  | 0
| HC 3-3 Airborne Contaminant Prevention |  |  |  |  | 3 |  | 0 |  | 0
| HC 3-4 Greenery Provision and Healing Environment | [5 empty] | 5 |  | 0 |  | 0
| (a) | Green Plot Ratio |  |  |  | 3 |  | 0 |  | 0
| (b) | Provision of outdoor places of respite
|  | i) | Healing Gardens, or |  |  | 1 |  | 0 |  | 0
|  | ii) | Green Roof
|  | iii) | Staff Gardens with sitting areas |  |  | 0.5 |  | 0 |  | 0
|  | iv) | Space for programs |  |  | 0.5 |  | 0 |  | 0
| HC 3-5 Stormwater Management |  |  |  |  | 2 |  | 0 |  | 0
| HC 3-6 Refrigerants | [5 empty] | 1 |  | 0 |  | 0
| (a) | Zero ODP or with global warming <100 |  |  |  | 0.5 |  | 0 |  | 0
| (b) | Use of Refrigerant Leak Detection System |  |  |  | 0.5 |  | 0 |  | 0
| HC 3-7 Green Transport | [5 empty] | 4 |  | 0 |  | 0
| (a) | Good access to public transport network |  |  |  | 1 |  | 0 |  | 0
| (b) | Provision of infrastructure for eletric charging station |  |  |  | 1 |  | 0 |  | 0
| (c) | Provision of hybrid/electric vehicle charging station |  |  |  | 1 |  | 0 |  | 0
| (d) | Use of Refrigerant Leak Detection System |  |  |  | 1 |  | 0 |  | 0
| Category Score for Part 3 - Environmental Protection |  |  |  |  | 27 |  | 0 |  | 0
Part 4: Indoor Environmental Quality
| HC 4-1 Thermal Comfort and Control for A/C Spaces | [5 empty] | 3 |  | 0 |  | 0
(i) Thermal Comfort compliance
| (a) | Public areas |  |  |  | 0.5 |  | 0 |  | 0
| (b) | Patient and General Clinical Areas |  |  |  | 0.5 |  | 0 |  | 0
| (c) | Clinical Areas with Specialized ventilation System |  |  |  | 0.5 |  | 0 |  | 0
| (d) | Operating Theatre and Surgery |  |  |  | 0.5 |  | 0 |  | 0
| (ii) Control of indoor thermal environment |  |  |  |  | 1 |  | 0 |  | 0
| HC 4-2 Thermal Comfort for N/V Spaces | [5 empty] | 9 |  | 0 |  | 0
(i) Design Stage
| (a) | Perform thermal comfort modelling |  |  |  | 4 |  | 0 |  | 0
| (b) | Perform further indoor air quality evaluation |  |  |  | 2 |  | 0 |  | 0
| (c) | Provide comfort system controls |  |  |  | 1 |  | 0 |  | 0
(ii) Post Occupancy Stage
| (a) | Conduct post - occupancy thermal comfort survey |  |  |  | 1 |  | 0 |  | 0
| (b) | Implement corrective measure |  |  |  | 1 |  | 0 |  | 0
| HC 4-3 Noise Level |  |  |  |  | 1 |  | 0 |  | 0
| HC 4-4 Indoor Air Pollutants | [5 empty] | 2 |  | 0 |  | 0
| (a) | Use of Low Volatile Organic compound |  |  |  | 1 |  | 0 |  | 0
| (b) | Use of low-emission flooring materials |  |  |  | 1 |  | 0 |  | 0
| HC 4-5 Indoor Air Quality | [5 empty] | 8 |  | 0 |  | 0
| (a) Provision of filtration media and pressure monitoring in AHU |  |  |  |  | 1.5 |  | 0 |  | 0
| (b) Maintaining pressure differentials |  |  |  |  | 1.5 |  | 0 |  | 0
| (c ) Provision of Infection Control Measures |  |  |  |  | 1 |  | 0 |  | 0
| (d) Conduct IAQ audit for air-condiitioned occupied space |  |  |  |  | 3 |  | 0 |  | 0
| (e) Implementation IAQ management plan |  |  |  |  | 1 |  | 0 |  | 0
| HC 4-6 High Frequency Ballast & PBT reduces lamps | [5 empty] | 2 | 0 |  | 0
| HC 4-7 Daylighting and Glare | [5 empty] | 3 | 0 |  | 0
| HC 4-8 View Out & Access to Indoor Places of Respite | [5 empty] | 2 | 0 |  | 0
| Category Score for Part 4 - Indoor Environmental Quality |  |  |  |  | 30 |  | 0 |  | 0
Part 5: Sustainable Practices and Green Innovation
HC 5-1 Environment Management Practice
| (a) | Implementation effective environmental friendly |  |  |  | 1 | 8 | 0 | 0 | 0 | 0
| (b) | Good track record main builder |  |  |  | 1 |  | 0 |  | 0
| (c) | QLASSIC |  |  |  | 1 |  | 0 |  | 0
| (d) | IBS content scoring |  |  |  | 1 |  | 0 |  | 0
| (e ) | Developer, main builder, M&E consultant and architect ISO14000 certified |  |  |  | 1 |  | 0 |  | 0
| (f) | Project team comprises Certified GreenRE AP |  |  |  | 1 |  | 0 |  | 0
| (g) | Provision of recycle bin for collection |  |  |  | 0.5 |  | 0 |  | 0
| (h) | Energy policy, energy target and regular review with top management |  |  |  | 0.5 |  | 0 |  | 0
| (i) | Water improvement plan |  |  |  | 0.5 |  | 0 |  | 0
| (j) | Green procurement policy |  |  |  | 0.5 |  | 0 |  | 0
| HC 5-2 Conservation of existing structures and adoption of demolition protocol | [5 empty] | 4 |  | 0 |  | 0
| (a) | Conservation of existing building structure |  |  |  | 2 |  | 0 |  | 0
| (b) | Adoption of demolition protocol |  |  |  | 2 |  | 0 |  | 0
| HC 5-3 Other Green practices and innovative features |  |  |  |  | 3 |  | 0 |  | 0
| Category Score for Part 5 - Sustainable Practices and Green Innovation |  |  |  |  | 15 |  | 0 |  | 0
Part 6: Carbon Emission of Development
| HC 6-1 Carbon Emission of Development |  |  |  |  | 3 |  | 0 |  | 0
| Category Score for Part 6 - Carbon Emission of Development |  |  |  |  | 3 |  | 0 |  | 0
| Category Score for Part 2 to Part 6 - Other Green Requirements |  |  |  |  | 89 |  | 0 |  | 0
| Maximum Score for Part 2 to Part 6 - Other Green Requirements |  |  |  |  | 50 |  | 0 |  | 0
GreenRE Healthcare Facilities Score (Max) | [5 empty] | 100 |  | 0 |  | 0
ASSESSED BY: |  |  |  |  | REVIEWED BY: | [6 empty] | REVIEWED BY:
SITI SUHANA ABD RAHMAN |  |  |  |  | NUR FATEHA JAMALUDDIN | [6 empty] | IR. ASHWIN THURAIRAJAH
[ASSESSOR 1 - (I) ENERGY RELATED REQUIREMENTS] |  |  |  |  | [MANAGER] | [6 empty] | [EXECUTIVE DIRECTOR]
[(II) OTHER GREEN REQUIREMENTS]
GREENRE SDN BHD |  |  |  |  | GREENRE SDN BHD | [6 empty] | GREENRE SDN BHD
DATE: |  |  |  |  | DATE: | [6 empty] | DATE: