## AA - NRB v2.0
COMPANY NAME |  |  |  | :
PROJECT NAME |  |  |  | :
PROJECT DESCRIPTION |  |  |  | :
DESIGN REFERENCE GUIDE |  |  |  | : NON-RESIDENTIAL BUILDING (NRB v2.0)
ASSESSMENT DATE |  |  |  | :
TARGET RATING |  |  |  | :
TOTAL NO. OF UNITS |  |  |  | :
GROSS FLOOR AREA |  |  |  | :
Category | [6 empty] | Credit Allocations |  | Credit Claimed |  | Credit Awarded |  | Remarks
(I) Energy Related Requirements
Minimum 30 Credits | Part 1: Energy Efficiency
| NRB 1-1 Thermal Performance of Building Envelope - OTTV | [5 empty] | 15
| NRB 1-2 Air-Conditioning System | [6 empty] | 25 |  | 0 |  | 0
| (a) | (i) | Air-Conditioned Plant |  |  |  | 20
|  | (ii) | Air Distribution System |  |  |  | 5
| (b) | Unitary Air-Conditioners/Condensing Units |  |  |  |  | 25
| (c) | Use of sensors or similar automatic control devices |  |  |  |  | 2
| Sub-Total (A) - NRB 1-1 to 1-2 | [5 empty] | 42 |  | 0 |  | 0
NRB 1-3 Building Envelope - Design/Thermal Parameters
| (a) | Minimum Direct West Facing Façade |  |  |  |  | 10
| (b) | (i) | Minimum West Facing Window Opening |  |  |  | 5 | 10 |  | 0 |  | 0
|  | (ii) | Effective Sun Shading Provision for Windows |  |  |  | 5
| (c) | Better Thermal Transmittance (U-value) of External West Facing Walls |  |  |  |  | 4
| (d) | Better Thermal Transmittance (U-value) of Roof |  |  |  |  | 5
| NRB 1-4 Natural Ventilation (Exclude Carparks) | [6 empty] | 13 |  | 0 |  | 0
| (a) | Proper Design of Building Layout |  |  |  |  | 8
| (b) | Use of Ventilation Simulation Software |  |  |  |  | 5
| Sub-Total (A) - NRB 1-3 to 1-4 | [5 empty] | 42 |  | 0 |  | 0
NRB 1-5 Daylighting
| (a) | Use of Daylight Simulation Analysis or Any Relevant Calculation |  |  |  |  | 3
| (b) | Daylighting in the Following Commin Areas: | [5 empty] | 3 |  | 0 |  | 0
|  | (i) | Lift Lobbies and Corridors |  |  |  | 1
|  | (ii) | Staircases |  |  |  | 1
|  | (iii) | Carparks |  |  |  | 1
| NRB 1-6 Artificial Lighting | [5 empty] | 12
| NRB 1-7 Ventilation in Carparks | [5 empty] | 4
| NRB 1-8 Ventilation in Common Areas | [5 empty] | 5
| NRB 1-9 Lift and Escalators | [6 empty] | 3 |  | 0 |  | 0
| (a) | Lifts with the Following Energy Efficient Features:
|  | (i) | AC Variable Voltage and Variable Frequency (VVVF) Motor Drive |  |  |  | 1
|  | (ii) | Sleep Mode Features |  |  |  | 1
| (b) | Escalators with Motion Sensors |  |  |  |  | 1
| NRB 1-10 Energy Efficient Practices & Features | [6 empty] | 13 |  | 0 |  | 0
| (a) | Computation of Energy Efficiency Index (EEI) |  |  |  |  | 1
| (b) | Use of Vertical Greenery System on East and West Façade |  |  |  |  | 1
| (c) | Use of Energy Efficient Features |  |  |  |  | 11
| NRB 1-11 Renewable Energy | [5 empty] | 20
| Sub-Total (c) - NRB 1-5 to 1-11 | [5 empty] | 63 |  | 0 |  | 0
| Category Score for Part 1 - Energy Efficiency | [5 empty] | 105 |  | 0 |  | 0
[Prorate Subtotal (A) + Prorate Subtotal (B)] + Subtotal (C)
(II) Other Green Requirements
Minimum 20 Credits | Part 2: Water Efficiency
| NRB 2-1 Water Efficient Fittings | [5 empty] | 8
| NRB 2-2 Water Usage and Leak Detection | [6 empty] | 2 |  | 0 |  | 0
| (a) | Provision of Sub-Meters for Major Water Uses |  |  |  |  | 1
| (b) | Linking All Sub-Meters to Building Management System (BMS) |  |  |  |  | 1
| NRB 2-3 Irrigation System and Landscaping | [6 empty] | 3 |  | 0 |  | 0
| (a) | Use of Non-Potable Water |  |  |  |  | 1
| (b) | Use of Water Efficient Irrigation System with Rain Sensor |  |  |  |  | 1
| (c) | Use of Drought Tolerant Plants |  |  |  |  | 1
| NRB 2-4 Water Consumption of Cooling Towers | [6 empty] | 2 |  | 0 |  | 0
| (a) | Use of Cooling Tower Water Treatment System |  |  |  |  | 1
| (b) | Use of Recycled Water for Cooling Purpose |  |  |  |  | 1
| Category Score for Part 2 - Water Efficiency | [5 empty] | 15 |  | 0 |  | 0
Part 3: Environmental Protection
| NRB 3-1 Sustainable Construction | [6 empty] | 10 |  | 0 |  | 0
| (a) | Use of Sustainable and Recycled Materials |  |  |  |  | 5
| (b) | Concrete Usage Index (CUI) |  |  |  |  | 5
| NRB 3-2 Sustainable Products | [5 empty] | 8 |  | 0
| NRB 3-3 Greenery Provision | [6 empty] | 8 |  | 0 |  | 0
| (a) | Green Plot Ratio (GnPR) |  |  |  |  | 6
| (b) | Restoration of Trees On-Site, Conservation/Relocation of Exisiting Trees |  |  |  |  | 1
| (c) | Use of Compost Recycled from Horticulture Waste |  |  |  |  | 1
| NRB 3-4 Environmental Management Practice | [6 empty] | 8 |  | 0 |  | 0
| (a) | Effective Implementation of Environmental Friendly Programme |  |  |  |  | 1
| (b) | Main Builder Has Good Track Records |  |  |  |  | 1
| (c) | Building Quality is Assesed Under the QLASSIC or CONQUAS |  |  |  |  | 1
| (d) | Client or Any Consultants are ISO 14000 Certified |  |  |  |  | 1
| (e) | Project Team Comprises of Certified GreenRE Manager/Professional |  |  |  |  | 2
| (f) | Provision of Building Users' Guide |  |  |  |  | 1
| (g) | Provision of Facilities or Recycling Bins |  |  |  |  | 1
| NRB 3-5 Green Transport | [6 empty] | 4 |  | 0 |  | 0
| (a) | Good Access to Public Transport Networks |  |  |  |  | 1
| (b) | Provision of Covered Walkway |  |  |  |  | 1
| (c) | Provision of Electric Vehicle Charging Stations and Priority Parking Lots |  |  |  |  | 1
| (d) | Provision of Covered/Sheltered Bicycles Parking Lots |  |  |  |  | 1
| NRB 3-6 Stormwater Management | [5 empty] | 1
| NRB 3-7 Refrigerants | [6 empty] | 2 |  | 0 |  | 0
| (a) | Refrigerants with ODP of Zero/GWP of Less than 100 |  |  |  |  | 1
| (b) | Use of Refrigerant Leak Detection System |  |  |  |  | 1
| Category Score for Part 3 - Environmental Protection | [5 empty] | 41 |  | 0 |  | 0
Part 4: Indoor Environmental Quality
| NRB 4-1 Thermal Comfort | [5 empty] | 2
| NRB 4-2 Noise Level | [5 empty] | 2
| NRB 4-3 Indoor Air Pollutants | [6 empty] | 2 |  | 0 |  | 0
| (a) | Use of Low Volatile Organic Compound (VOC) Paints |  |  |  |  | 1
| (b) | Use of Environmentally Friendly Adhesives |  |  |  |  | 1
| NRB 4-4 Indoor Air Quality (IAQ) Management | [6 empty] | 2 |  | 0 |  | 0
| (a) | Provision of Filtration Media & Differential Pressure Monitoring Equip. |  |  |  |  | 1
| (b) | Implement Effective IAQ Management Plan |  |  |  |  | 1
| NRB 4-5 High Frequency Ballasts | [5 empty] | 2
| Category Score for Part 4 - Indoor Environmental Quality | [5 empty] | 10 |  | 0 |  | 0
Part 5: Other Green Features
| NRB 5-1 Green Features & Innovations | [5 empty] | 7
| Category Score for Part 5 - Other Green Features | [5 empty] | 7 |  | 0 |  | 0
Part 6: Carbon Emission of Development
| NRB 6-1 Carbon Emission of Development | [5 empty] | 4
| Category Score for Part 6 - Carbon Emission of Development | [5 empty] | 4 |  | 0 |  | 0
| Category Score for Part 2 to Part 6 - Other Green Requirements | [5 empty] | 77 |  | 0 |  | 0
GreenRE Non-Residential Building Score (Max) | [6 empty] | 182 |  | 0 |  | 0
[5 empty] | ASSESSED BY: | [7 empty] | REVIEWED BY:
SITI SUHANA ABD RAHMAN | [5 empty] | NUR FATEHA JAMALUDDIN | [6 empty] | IR. ASHWIN THURAIRAJAH
[ASSESSOR 1 - (I) ENERGY RELATED REQUIREMENTS] | [5 empty] | [ASSESSOR 2 - (II) OTHER GREEN REQUIREMENTS] | [6 empty] | [EXECUTIVE DIRECTOR]
|  |  | GREENRE SDN BHD |  |  | GREENRE SDN BHD | [6 empty] | GREENRE SDN BHD
DATE: | [5 empty] | DATE: | [6 empty] | DATE: