## AA - ENRB v3.1
COMPANY NAME |  |  |  | :
PROJECT NAME |  |  |  | :
PROJECT DESCRIPTION |  |  |  | :
:
DESIGN REFERENCE GUIDE |  |  |  | : EXISTING INDUSTRIAL FACILITIES (EIND v1.1)
ASSESSMENT DATE |  |  |  | :
TARGET RATING |  |  |  | :
TOTAL NO. OF UNITS |  |  |  | :
GROSS FLOOR AREA |  |  |  | :
Category |  |  |  |  | Credit Allocations |  | Credit Claimed |  | Credit Awarded |  | Remarks
(I) Energy Related Requirements
Minimum 30 Credits | Part 1: Energy Efficiency
| EIND 1-1 Thermal Performance of Building Envelope - OTTV |  |  |  | 5
| EIND 1-2 Air-Conditioning System (Air-Conditioned Areas) |  |  |  |  | 28 |  | 0 |  | 0
| (a) | Water Cooled Chilled-Water Plant |  |  | 20
| (b) | Air Cooled Chilled-Water Plant / Unitary Air-Conditioners |  |  | 20
| (c) | Air Distribution System |  |  | 8
| (d) | Provision of Permanent Measuring Instruments |  |  | 2
| (e) | Verification - Heat Balance |  |  | 1
| (f) | Provision of Variable Speed Controls |  |  | 1
| (g) | Use of Sensors or Similar Automatic Control Devices |  |  | 1
| Sub-Total EIND 1-1 & 1-2 |  |  |  | 38 |  | 0 |  | 0
EIND 1-3 Natural Ventilation/Mechanical Ventilation (Non Air-Conditioned Areas)
| (a) | Natural Ventilation |  |  | 32 | 32 |  | 0 |  | 0
| (b) | Mechanical Ventilation |  |  | 32
| Sub-Total EIND 1-3 |  |  |  | 32 |  | 0 |  | 0
| EIND 1-4 Artificial Lighting |  |  |  | 10
| EIND 1-5 Lighting Zoning |  |  |  |  | 3
| EIND 1-6 Ventilation in Carparks |  |  |  | 2
| EIND 1-7 Ventilation in Common Areas |  |  |  | 5
| EIND 1-8 Vertical Transporatation Efficiency |  |  |  | 1
EIND 1-9 Electrical Services
| (a) | Energy Use and sub- metering |  |  | 2 | 7 |  | 0
| (b) | Provision of low- loss service transfomers |  |  | 2
| (c) | Provision of energy- efficient UPS |  |  | 3
| EIND 1-10 Local Energy Generation for Centralised Service Hot Water Heating |  |  |  | 6 |  |  | 0 |  | 0
| (a) | Solar Thermal Hot Water System
| (b) | Heat Pumps
| (c) | Combined Heat and Power (CHP) system
| (d) | Photovoltaic Thermal (PV/T) or others
EIND 1-11 Energy Efficient Features
| (a) | Building Energy Intensity (BEI) |  |  | 1 | 10 | 0 | 0 | 0 | 0
| (b) | Benchmarking Process load |  |  | 9 |  | 0 |  | 0
| EIND 1-12 Energy Policy and Management |  |  |  |  | 1 |  | 0 |  | 0
| (a) | Energy Policy, Energy Targets and Regular Review |  |  | 0.5 |  | 0 |  | 0
| (b) | Intent, Measures and Implementation Strategies |  |  | 0.5 |  | 0 |  | 0
| Sub-Total EIND 1-4-EIND1-12 |  |  |  | 45 |  | 0 |  | 0
| EIND 1-13 On Site Energy Generation |  |  |  | 15
| Category Score for Part 1 - Energy Efficiency |  |  |  | 130 |  | 0 |  | 0
| Maximum Category Score for Part 1 - Energy Efficiency |  |  |  | 65 |  | 0 |  | 0
(II) Other Green Requirements
Minimum 20 Credits | Part 2: Water Efficiency
| EIND 2-1 Water Usage and Leak Detection |  |  |  |  | 4 |  | 0 |  | 0
| (a) | To Monitor the Water Consumption on Monthly Basis |  |  | 1
| (b) | Provision of Sub-Meters for Major Water Uses |  |  | 1
| (c) | Provision of Automated / Smart Metering |  |  | 2
| EIND 2-2 Water Efficient Fittings |  |  |  | 6
| EIND 2-3 Alternative Water Sources |  |  |  | 3
| EIND 2-4 Water Efficiency Improvement Plans |  |  |  | 1
| EIND 2-5 Irrigation System and Landscaping |  |  |  |  | 3 |  | 0 |  | 0
| (a) | Use of Non-Potable Water |  |  | 1
| (b) | Use of Automatic Water Efficient Irrigation System |  |  | 1
| (c) | Use of Drought Tolerant Plants |  |  | 1
| EIND 2-6 Water Consumption of Cooling Towers |  |  |  |  | 2 |  | 0 |  | 0
| (a) | Use of Cooling Tower Water Treatment System |  |  | 1
| (b) | Use of Recycled Water from Approved Sources |  |  | 1
| Category Score for Part 2 - Water Efficiency |  |  |  | 19 |  | 0 |  | 0
Part 3: Sustainable Operation & Maintenance
| EIND3-1 Building Operation & Maintenance |  |  |  |  | 5 |  | 0 |  | 0
| (a) | The Environmental Policy |  |  | 1
| (b) | A Green Guide for Occupants or Visitors |  |  | 1
| (c) | In-House Building Management Team Comprises One GreenRE Manager |  |  | 1
| (d) | GreenRE Manager As Project Team |  |  | 1
| (e) | The Environmental Management System |  |  | 1
| EIND 3-2 EE Monitoring and Maintenance |  |  |  |  | 3 |  | 0 |  | 0
| (a) | To conduct energy audit |  |  | 2
| (b) | Use BMS/ EMS to monitor the energy consumption |  |  | 1
| EIND 3-3 Post Occupancy Evaluation |  |  |  |  | 3 |  | 0 |  | 0
| (a) | Conduct Post Occupancy Survey |  |  | 2
| (b) | List of Corrective Actions Taken |  |  | 1
| EIND 3-4 Waste Management |  |  |  |  | 5 |  | 0 |  | 0
| (a) | Provision of Facilities or Recycling Bins |  |  | 2
| (b) | Promote and Encourage Waste Minimization and Recycling |  |  | 1
| (c) | Provision of Proper Storage Area |  |  | 1
| (d) | To Quantify and Monitor the Recycling Programme |  |  | 1
| EIND 3-4 Sustainable Products |  |  |  | 8
| EIND 3-5 Greenery Provision |  |  |  |  | 8 |  | 0 |  | 0
| (a) | Green Plot Ration (GnPR) |  |  | 6
| (b) | Restoration of Trees on Site, Conserving or Relocating |  |  | 1
| (c) | Use of Compost Recycled from Horticulture Waste |  |  | 1
EIND 3-7 Environmental Protection
| (a) | Green Procurement Policy |  |  | 1
| (b) | Reduce the Potential Damage to the Ozone Layer |  |  | 1 | 3 |  | 0 |  | 0
|  | > | Refrigerants with Zero ODP or <100 GWP |  | 1
|  | > | Use of Refrigerant Leak Detection System |  | 1
| EIND 3-8 Green Transport |  |  |  |  | 5 |  | 0 |  | 0
| (a) | Good Access to Public Transport Networks |  |  | 1
| (b) | Shuttle service for facility employees |  |  | 1
| (c) | Assessible from major highway outlets |  |  | 1
| (d) | Provision of hybrid/electric vehicle charging station |  |  | 1
| (e) | Provision of Covered / sheltered bicycle parking lots |  |  | 1
| Category Score for Part 3 - Environmental Protection |  |  |  | 41 |  | 0 |  | 0
Part 4: Indoor Environmental Quality
| EIND 4-1 Indoor Air Quality Performance |  |  |  |  | 8 |  | 0 |  | 0
| (a) | To Conduct Full IAQ Audit |  |  | 4
| (b) | Implement Effective IAQ Management |  |  | 1
| (c) | Use of High Efficiency Air Filter |  |  | 1
| (d) | Room Temperature Display |  |  | 1
| (e) | Additional Carbon Dioxide Sensor Display |  |  | 1
| EIND 4-2 Indoor Air Pollutants |  |  |  |  | 3 |  | 0 |  | 0
| (a) | Use of Low Volatile Organic Compound (VOC) Paints |  |  | 1
| (b) | Use of Environmentally Friendly Adhesives |  |  | 1
| (c) | Use of Environmentally Friendly cleaning products |  |  | 1
| EIND 4-3 Lighting Quality |  |  |  |  | 3 |  | 0 |  | 0
| (a) | Lighting Level to Comply with MS1525:2014 |  |  | 1
| (b) | High Frequency Ballasts |  |  | 2
| EIND 4-4 Thermal Comfort |  |  |  |  | 2 |  | 0 |  | 0
| (a) | Ensure Consistent Indoor Conditions |  |  | 1
| (b) | Controllability of Temperature |  |  | 1
| EIND 4-5 Internal Noise Level |  |  |  | 2 |  | 0 |  | 0
| Category Score for Part 4 - Indoor Environmental Quality |  |  |  | 18 |  | 0 |  | 0
Part 5: Other Green Features
| EIND 5-1 Green Features & Innovations |  |  |  | 10 |  | 0 |  | 0
| Category Score for Part 5 - Other Green Features |  |  |  | 10 |  | 0 |  | 0
Part 6: Carbon Emission of Development
| EIND 6-1 Carbon Emission of Development |  |  |  | 2 |  | 0 |  | 0
| Category Score for Part 6 - Carbon Emission of Development |  |  |  | 2 |  | 0 |  | 0
| Category Score for Part 2 to Part 6 - Other Green Requirements |  |  |  | 90 |  | 0 |  | 0
| Maximum Category Score for Part 2 to Part 6 - Other Green Requirements |  |  |  | 50 |  | 0 |  | 0
GreenRE Existing Industrial Facilities (Max) |  |  |  |  | 115 |  | 0 |  | 0