## INFO SHEET - NRB
BUILDING(S) INFORMATION
BUILDING NAME | :
REFERENCE NO. | :
ADDRESS | :
DESIGN REFERENCE GUIDE | :
TYPE OF BUILDING | : OFFICE/HOTEL/RETAIL/MIXED DEVELOPMENT/ INDUSTRIAL
GROSS FLOOR AREA | :
BUILDING(S) KEY PERFORMANCE DATA (PASSIVE SYSTEM)
BUILDING OTTV |  |  | W/m2
TOTAL GLASS AREA |  |  | m2
TOTAL WALL AREA |  |  | m2
WINDOW-TO-WALL RATIO (WWR)
GLASS U-VALUE
GLASS SC VALUE
RATIO OF NATURALLY VENTILATED TO AIR-CONDITIONED AREA (GFA EX: CARPARK)
BUILDING(S) KEY PERFORMANCE DATA (ACTIVE SYSTEM)
TYPE OF A/C SYSTEMS (PLEASE SPECIFY): (E.G CENTRALIZED WATER COOLED, CENTRALIZED AIR-COOLED, MULTI-SPLIT, UNITARY ETC.)
AIR-CONDITIONED FLOOR AREA |  |  | m2
TOTAL INSTALLED COOLING CAPACITY |  |  | RT
BUILDING(S) COOLING LOAD (AVERAGE BASED ON OPERATION TIME AS STIPULATED IN TABLE 1A) |  |  | RT
BUILDING(S) COOLING LOAD (DAYTIME OPERATION, AS STIPULATED IN TABLE 1B ) (IF INFO AVAILABLE , OPTIONAL FIELD TO BE FILLED IN FOR VERSION 3.1 AND EARLIER) |  |  | RT
BUILDING(S) COOLING LOAD (NIGHT TIME OPERATION, AS STIPULATED IN TABLE 1B) (IF INFO AVAILABLE , OPTIONAL FIELD TO BE FILLED IN FOR VERSION 3.1 AND EARLIER) |  |  | RT
SPECIFIC COOLING LOAD (USE AIRCON AREA, AND BUILDING COOLING LOAD AVERAGE ABOVE) [A] |  |  | W/m2
SPECIFIC COOLING LOAD (USE AIRCON AREA) [B] [B] = 3517/([A]) |  |  | m2/TON
SPECIFIC LIGHTING LOAD (USE GFA) |  |  | W/m2
SPECIFIC PLUG LOADS (USE GFA) |  |  | W/m2
SPECIFIC LIGHTING AND PLUG LOADS (USE GFA, SUMMATION OF ABOVE) |  |  | W/m2
AIR-CONDITIONING SYSTEM EFFICIENCY (OVERALL CHILLER PLANT/ VRF/ UNITARY SYSTEM, INCLUDING COMPRESSORS, PUMPS AND CONDENSER FANS’ POWER CONSUMPTION) (AVERAGE BASED ON OPERATION TIME AS STIPULATED IN TABLE 1A) |  |  | kW/RT
AIR-CONDITIONING SYSTEM AIR DISTRIBUTION EFFICIENCY (AVERAGE BASED ON OPERATION TIME AS STIPULATED IN TABLE 1A) (IF INFO AVAILABLE, OPTIONAL FIELD TO BE FILLED IN FOR VERSION 3.1 AND EARLIER) |  |  | kW/RT
TOTAL BUILDING ENERGY CONSUMPTION* [C]= [E] + [F] (CALCULATED / ACTUAL (FROM BILLS) ANNUAL ELECTRICAL CONSUMPTION [E]: ________ KWH/YR + RENEWABLE ENERGY GENERATION [F]: ________ KWH/YR, IF RENEWABLE ENERGY IS DIRECTLY FEEDING TO THE BUILDING) [H] = [F] IF ALL RENEWABLE GENERATED IS DIRECTLY FEED TO THE BUILDING CONSUMPTION. |  |  | kWh/yr
ENERGY SAVINGS * (INCLUDE TOTAL RENEWABLE ENERGY) [G] |  |  | kWh/yr
PERCENTAGE ENERGY SAVINGS (INCLUDE RENEWABLE ENERGY) [G]/{[E]+[G]} |  |  | %
ENERGY EFFICIENCY INDEX (ACTUAL) (BASED ON OPERATING HOURS = ___HR/WK) |  |  | kWh/m2/yr
ENERGY EFFICIENCY INDEX (NORMALISED) • NORMALISED TO 55HRS UNLESS OTHERWISE STATED. • ADJUSTED IF OCCUPANCY RATE IS <80% OCCUPIED. |  |  | kWh/m2/yr
TOTAL RENEWABLE ENERGY GENERATION [H] [H] = [F] IF ALL RENEWABLE GENERATED IS DIRECTLY FEED TO THE BUILDING CONSUMPTION |  |  | kWh/yr
PERCENTAGE REPLACEMENT OF BUILDING ELECTRICITY CONSUMPTION REPLACED BY RENEWABLE ENERGY [H]/[C] |  |  | %
CALCULATED OR ACTUAL ENERGY SAVINGS FROM BASELINE |  |  | kWh/yr
CALCULATED OPERATIONAL CARBON REDUCTION (TCO2EQ) – ENERGY SAVINGS FROM BASELINE * CONVERSION FACTOR# (BASELINES AS STIPULATED IN TABLE 1C) |  |  | tCO2eq
* INFORMATION RELEVANT TO GOLD AND PLATINUM PROJECTS ONLY. # PENINSULA 0.694 kgCO2eq/kWh, SABAH 0.536 kgCO2eq/kWh, SARAWAK 0.699 kgCO2eq/kWh
BUILDING(S) KEY PERFORMANCE DATA (WATER):
% REPLACEMENT OF WATER FITTINGS WITH WATER EFFICIENT FITTINGS (WEPLS / WELS) |  |  | %
SIZE OF RAINWATER HARVESTING TANK (m3) |  |  | m3
% REPLACEMENT OF OUTDOOR WATER USE WITH RAINWATER COLLECTED |  |  | %
BUILDING(S) KEY PERFORMANCE DATA (ENVIRONMENTAL PROTECTION):
BUILDING CONCRETE USAGE INDEX (CUI) |  |  | m3/m2
% REPLACEMENT OF OPC |  |  | %
CALCULATED EMBODIED CARBON FOR PROJECT (OPTIONAL IF CARBON CALCULATION IS PERFORMED) |  |  | tCO2eq
NO. OF HYBRID / ELECTRIC VEHICLE LOTS |  |  | nos
NO. OF BICYCLE PARKING LOTS |  |  | nos
TABLE 1A:
BUILDING TYPE |  | OPERATIONAL HOURS
OFFICES |  | MONDAY TO FRIDAY 9 A.M. TO 6 P.M.
RETAIL MALLS |  | MONDAY TO SUNDAY 10 A.M. TO 10 P.M.
HOTELS |  | MONDAY TO SUNDAY 24 HOURS
OTHER BUILDING TYPES |  | TO BE DETERMINED BASED ON OPERATING HOURS. PLEASE SPECIFY:
TABLE 1B:
BUILDING TYPE |  | DAYTIME OPERATIONAL HOURS | NIGHT TIME OPERATIONAL HOURS
HOTELS |  | MONDAY TO SUNDAY 7A.M. TO 11P.M. | MONDAY TO SUNDAY 11P.M. TO 7A.M.
OTHER BUILDING TYPES |  | TO BE DETERMINED BASED ON ACTUAL OPERATION. PLEASE SPECIFY: | TO BE DETERMINED BASED ON ACTUAL OPERATION. PLEASE SPECIFY:
TABLE 1C:
BUILDING TYPE |  | ENERGY BASELINE (kWh/yr)
OFFICES
RETAIL MALLS
HOTELS
OTHER BUILDING TYPES